## Tabla de Ofertar 24J-12144-R1
TABLA DE OFERTAR SUBASTA FORMAL NÚMERO 24J-12144-R1 REPARACIÓN Y MEJORAS DE EDIFICIOS INDUSTRIALES DE LA COMPAÑÍA DE FOMENTO INDUSTRIAL PARA EL PW: 8004
Partida | Type of Damages | Descripción | Unidad | Cantidad | Precio Unitario | Precio Total | Ley % de Preferencia (si aplica)
DI: 219020
1 | Damages - Public Assistance (PA) | Building Interior, 1 each of Wood Door at Janitor, 30 IN wide x 80 IN high, solid core, mahogany, 1-3/4" thick, strong winds and wind driven rain penetrate inside the building thru the windows and the water accumulation damaged the doors, 0% work completed. Note: Wood Door (remove, dispose and replace, with new door, frame, hardware and accessories, equal or similar to existing door, material, fire rating, and finishes.) | Each | 1
2 | Damages - Public Assistance (PA) | Building Exterior, 8 each of Aluminum Jalousie Windows , 3 FT wide x 6 FT high, Miami Type, ga 0.062, heavy duty hardware, high winds and wind driven rain and debris, hit the windows so hard that damage the operators and in some cases misaligned the window preventing it to be able to closed properly. , 0% work completed. Note: Aluminum Jalousie Windows (remove, dispose and install new windows hardware and accessories, in-kind) | Each | 8
3 | Damages - Hazard Mitigation (HM) | In order to prevent a similar damage to the windows, it is proposed to include extra anchoring for damages windows and adjacent ones to improve performance against high winds in similar future events. | each | 8
4 | Damages - Additional Damages | 30 feet of the perimeter, galvanized fence is damaged and missing its barbed wire along the top rail. Note: Chain Link Fence (remove and dispose existing damage material, install new 3-strand barbed wire chain link fence according to applicable codes and PRIDCO specifications. | Linear Feet | 30
5 | Damages - Additional Damages | Installation of an equipment-anchoring assembly to protect exhaust fans from high wind pressure. Installation of an equipment-anchoring assembly to protect exhaust fans from high wind pressure. | Each | 2
DI: 219021
6 | Damages - Public Assistance (PA) | Building Interior, 2 each of Hollow Cone Wood Door, 36 IN wide x 80 IN high, solid core, mahogany, 1-3/4" thick, strong winds and wind driven rain penetrate inside the building thru the windows and the water accumulation damaged the doors., 0% work completed. Note: Wood Door (remove, dispose and replace, with new door, frame, hardware and accessories, equal or similar to existing door, material, fire rating, and finishes.) | Each | 2
7 | Damages - Public Assistance (PA) | Building Interior, 2 each of Wood Door, 30 IN wide x 80 IN high, solid core, mahogany, 1- 3/4" thick, strong winds and winds driven rain penetrate inside the building thru the windows and the water accumulation damaged the doors., 0% work completed. Note: Wood Door (remove, dispose and replace, with new door, frame, hardware and accessories, equal or similar to existing door, material, fire rating, and finishes.) | Each | 2
8 | Damages - Public Assistance (PA) | Building Exterior, 2 each of Aluminum Jalousie Windows, 3 FT wide x 6 FT high, Miami Type, ga 0.062, heavy duty hardware, High winds and Wind Driven Rain and debris, hit the windows so hard that damage the operators and in some cases misaligned the window preventing it to be able to close properly., 0% work completed. Note: Aluminum Jalousie Windows (remove, dispose and install new windows hardware and accessories, in-kind). | Each | 2
9 | Damages - Public Assistance (PA) | Exterior Site, Perimeter Fence, 450 LF long x 6 FT high, chain link, galv. ga. no. 6, post - 2- ½" inch diam galv., 3-strands barbed wire (4-point), strong winds, wind blown debris and fallen trees impacted the fence resulting serious damages., 0% work completed. Note: Perimeter Fence (remove and dispose existing damage material, install new chain link fence according to applicable codes and PRIDCO specifications). | Linear Feet | 450
10 | Damages - Hazard Mitigation (HM) | In order to prevent a similar damage to the windows, it is proposed to include extra anchoring for damages windows an adjacent ones to improve performance against high winds in future similar events. Windows, 3 FT wide x 6 FT high, Miami Type, ga 0.062, heavy duty hardware. In order to prevent a similar damage to the windows, it is proposed to include extra anchoring for damages windows an adjacent ones to improve performance against high winds in future similar events. | Each | 2
11 | Damages - Additional Damages | Building Exterior, 4 each of Aluminum Jalousie Windows, 3 FT wide x 6 FT high, Miami Type, ga 0.062, heavy duty hardware (remove, dispose and install new windows hardware and accessories, in-kind) | Each | 4
12 | Damages - Additional Damages | In order to prevent a similar damage to the windows, it is proposed to include extra anchoring for damages windows an adjacent ones to improve performance against high winds in future similar events. | Each | 4
13 | Damages - Additional Damages | New operators to all windows is recommended. Aluminum Jalousie Windows Operators (remove, dispose and install new window operators, in-kind) | Each | 98
14 | Damages - Additional Damages | Note: Waterproofing Membrane (remove and dispose damaged material, clean and prepare surface, install new waterproofing membrane and accessories according to applicable codes, PRIDCO specifications and manufacturer recommended guidelines. | Square Feet | 10800
15 | Damages - Additional Damages | Add & Install SBS modified bituminous membrane, granule surface cap sheet, polyester reinforced, 160 mils, mopped on concrete roof | Square Feet | 10800
16 | Damages - Additional Damages | Installation of an equipment-anchoring assembly to protect exhaust fans from high wind pressure. | Each | 2
DI: 219022
17 | Damages - Public Assistance (PA) | Building Exterior, 1 each of Exhaust Fans , 5 FT long x 5 FT wide, aluminum roof fan extractor cap w/ gravity self-acting back draft damper face-flush install, 36in fan size, 1-HP motor, 115/230V, strong winds, windblown debris and fallen trees impacted the ventilators damaging one of the ventilators hoods., 0% work completed. Note: Exhaust Fan (remove, dispose and install new exhaust fan according to PRIDCO specifications). | Each | 1
18 | Damages - Public Assistance (PA) | Building Interior, 4 each of Wood Door, 36 IN wide x 80 IN high, solid core, mahogany, 1-3/4" thick, strong winds and wind driven rain penetrate inside the building thru the windows and the water accumulation damaged the doors., 0% work completed. Note: Wood Door (remove, dispose and replace, with new door, frame, hardware and accessories, equal or similar to existing door, material, fire rating, and finishes.) | Each | 4
19 | Damages - Public Assistance (PA) | Building Exterior, 8 each of Aluminum Jalousie Windows, 3 FT wide x 6 FT high, Miami Type, ga 0.062, heavy duty hardware, high winds and wind driven rain and debris, hit the windows so hard that damage the operators and in some cases misaligned the window preventing it to be able to close properly., 0% work completed. Note: Aluminum Jalousie Windows (remove, dispose and install new windows hardware and accessories, in-kind). | Each | 8
20 | Damages - Public Assistance (PA) | Building Exterior, 2 each of Concrete Plastering, 10 FT long x 1 FT wide, strong winds and windblown debris damaged the plastering which require repair to prevent further damages to the wall., 0% work completed. Note: Clean and prepare surface. Apply cement plaster finish as required. | Square Feet | 20
21 | Damages - Public Assistance (PA) | Exterior Site, Fence Wire, 290 LF long, 3-strands barbed wire (4-point), strong winds, windblown debris and fallen trees damaged the barbed wires of a section of the surrounding chain link fence, 0% work completed. Note: Remove and dispose of damaged material, install new barbed wire. | Linear Feet | 290
22 | Damages - Public Assistance (PA) | Exterior Site, Perimeter Fence , 210 LF long x 6 FT high, chain link, galv. ga. No. 9, post - 2-½" inch diam galv., 3-strands barbed wire (4-point) , strong winds, wind blown debris and fallen trees impacted the fence resulting in irreparable., 0% work completed. Note: Chain Link Fence (remove and dispose existing damage material, install new chain link fence according to appicable codes and PRIDCO specifications. | Linear Feet | 210
23 | Damages - Hazard Mitigation (HM) | Install an equipment-anchoring assembly to protect exhaust fans from high wind pressure. | Each | 5
24 | Damages - Hazard Mitigation (HM) | In order to prevent a similar damage to the windows, it is proposed to include extra anchoring for damages windows and adjacent ones to improve performance against high winds in future similar events. | Each | 8
25 | Damages - Additional Damages | Building Exterior, 1 each of Aluminum Jalousie Windows, 3 FT wide x 6 FT high, Miami Type, ga 0.062, heavy duty hardware. Note: (Remove, dispose and install new windows hardware and accessories, in-kind). | Each | 1
26 | Damages - Additional Damages | Two observable windows have blind/louver operating knobs that are damaged on the southern corner of the facility. Remove damaged window-operator material and install new window-operator material, in-kind, per PRIDCO specifications. | Each | 2
27 | Damages - Additional Damages | Building Exterior, Concrete Plastering, 148 SF, strong winds and windblown debris damaged the plastering which require repair to prevent further damages to the wall. Note: Clean and prepare surface. Apply cement plaster finish as required. | Square Feet | 148
28 | Damages - Additional Damages | The sidewalk on the northern exterior corner of the facility exhibits extensive damage caused by the nearby tree roots growing beneath it. The sidewalk is elevated and cracked at several points along its 95 LF length, 4 LF width, and 4" thickness. Note: The presence of the adjacent tree in the grass area has led to noticeable cracks and varying elevations in the sidewalk due to the deformation caused by its roots.. Prep site 2. Demolish and dispose of existing concrete (L=95 ft x W=4 ft x H=4 in) sidewalk 3. Form / Pour / Strip new concrete sidewalk. | Linear Feet | 95
29 | Damages - Additional Damages | In order to prevent a similar damage to the windows, it is proposed to include extra anchoring for damages windows and adjacent ones to improve performance against high winds in future similar events. | Each | 1
DI: 219023
30 | Damages - Public Assistance (PA) | Building Exterior, 2 each of Exhaust Fans , Aluminum roof fan extractor cap w/ gravity self-acting back draft damper face-flush install, 36in Fan Size, 1-HP Motor, 115/230V, damaged by high wind. , 0% work completed. Note; Exhaust Fan (remove, dispose and install new exhaust fan according to PRIDCO specifications). | Each | 2
31 | Damages - Public Assistance (PA) | Building Exterior, 1 each of Aluminum Jalousie Windows, 3 FT wide x 6 FT high, Miami Type, ga 0.062, heavy duty hardware, damaged by high winds and wind driven rain and debris, 0% work completed. Note: Aluminum Jalousie Windows (remove, dispose and install new windows hardware and accessories, in-kind) | Each | 1
32 | Damages - Hazard Mitigation (HM) | Install an equipment-anchoring assembly to protect exhaust fans from high wind pressure. | Each | 5
33 | Damages - Hazard Mitigation (HM) | In order to prevent a similar damage to the windows, include extra anchoring for damages windows and adjacent ones to improve performance against high winds in similar future events. Aluminum Jalousie Windows, 3 FT wide x 6 FT high, Miami Type, ga 0.062 | Each | 1
34 | Damages - Additional Damages | Building Exterior, 2 each of Aluminum Jalousie Windows, 3 FT wide x 6 FT high, Miami Type, ga 0.062, heavy duty hardware (remove, dispose and install new windows hardware and accessories, in-kind) | Each | 2
35 | Damages - Additional Damages | In order to prevent a similar damage to the windows, include extra anchoring for damages windows and adjacent ones to improve performance against high winds in similar future events. | Each | 2
DI: 219024
36 | Damages - Public Assistance (PA) | Building Interior, 2 each of Wood Door, 36 IN wide x 80 IN high, Solid Core, mahogany, 1- 3/4" thick, Strong winds and wind driven rain penetrate inside the building thru the windows and the water accumulation damaged the doors., 0% work completed. Note: Wood Door (remove, dispose and replace, with new door, frame, hardware and accessories, equal or similar to existing door, material, fire rating, and finishes.) | Each | 2
37 | Damages - Public Assistance (PA) | Building Exterior, 1 each of Aluminum Jalousie Windows, 3 FT wide x 6 FT high, Miami Type, ga 0.062, heavy duty hardware , high winds and wind driven rain and debris, hit the windows so hard that damage the operators and in some cases misaligned the window preventing it to be able to close properly., 0% work completed. Note: Aluminum Jalousie Windows (remove, dispose and install new windows hardware and accessories, in-kind). | Each | 1
38 | Damages - Public Assistance (PA) | Building Exterior, 1 each of Aluminum Jalousie Window, 3 FT wide x 3 FT high, Miami Type, ga 0.062, heavy duty hardware, Strong winds and Wind Driven debris, hit the windows so hard that completely destroyed the window and require replacement, 0% work completed. Note; Aluminum Jalousie Windows (remove, dispose and install new windows hardware and accessories, in-kind). | EAch | 1
39 | Damages - Public Assistance (PA) | Building Exterior, Concrete Plastering, 6 FT long x 1 FT wide, Strong winds and windblown debris damaged the plastering which require repair to prevent further damages to the wall., 0% work completed. Note: Clean and prepare surface. Apply cement plaster finish as required. | Square Feet | 6
40 | Damages - Public Assistance (PA) | Exterior Site, 3-strings barbed wires & supporting brackets (arms), 20 LF long, 3-strands Barbed Wire (4-point), Strong winds, windblown debris and fallen trees impacted the fence resulting damages to the 3-strings barbed wires & supporting brackets (arms) at the top of the fence., 0% work completed. Note: Remove and dispose of damaged material, install new barbed wire. | Linear Feet | 20
41 | Damages - Public Assistance (PA) | Exterior Site, Chain Link Fence, 40 LF long x 6 FT high, Galv. Ga. No. 9, Post - 2-½" inch diam galv., 3-strands Barbed Wire (4-point), Strong winds, windblown debris and fallen trees impacted the fence resulting serious damages that need to be repair and/or replace, 0% work completed. Note: Chain Link Fence (remove and dispose existing damage material, install new chain link fence according to appicable codes and PRIDCO specifications. | Linear Feet | 40
42 | Damages - Hazard Mitigation (HM) | In order to prevent a similar damage to the windows, it is proposed to include extra anchoring for damages windows and adjacent ones to improve performance against high winds in future similar events. | Each | 1
43 | Damages - Hazard Mitigation (HM) | In order to prevent a similar damage to the windows, it is proposed to include extra anchoring for damages windows and adjacent ones to improve performance against high winds in future similar events. | Each | 1
44 | Damages - Additional Damages | Building Exterior, 2 each of Aluminum Jalousie Windows, 3 FT wide x 6 FT high, Miami Type, ga 0.062, heavy duty hardware. Note: (remove, dispose and install new windows hardware and accessories, in-kind). | Each | 2
45 | Damages - Additional Damages | In order to prevent a similar damage to the windows, it is proposed to include extra anchoring for damages windows an adjacent ones to improve performance against high winds in future similar events. | Each | 2
46 | Damages - Additional Damages | Building Exterior, 9 each of Aluminum Jalousie Windows, 3 FT wide x 3 FT high, Miami Type, ga 0.062, heavy duty hardware. Note: (remove, dispose and install new windows hardware and accessories, in-kind). | Each | 9
47 | Damages - Additional Damages | In order to prevent a similar damage to the windows, it is proposed to include extra anchoring for damages windows an adjacent ones to improve performance against high winds in future similar events. | Each | 9
48 | Damages - Additional Damages | In addition to the 40 feet identified by FEMA, roughly 30 feet of chain link fence displays discernible signs of damage. Observed damages include leaning or crooked posts, sections with detached or stretched chain-link mesh, bent or detached segments of top rails, and missing or detached and dilapidated barbed wire. C Exterior Site, Chain Link Fence, 40 LF long x 6 FT high, Galv. Ga. No. 9, Post - 2-½" inch diam galv. Note: hain Link Fence (remove and dispose existing damage material, install new chain link fence according to appicable codes and PRIDCO specifications. | Linear Feet | 30
49 | Damages - Additional Damages | The janitor's closet door (W=30 in x H=80 in) Solid Core, mahogany, 1- 3/4" thick, Strong winds and wind driven rain penetrate inside the building thru the windows and the water accumulation damaged the doors., 0% work completed. Note: Wood Door (remove, dispose and replace, with new door, frame, hardware and accessories, equal or similar to existing door, material, fire rating, and finishes.) | Each | 1
50 | Damages - Additional Damages | Section of existing downspout on the southeast side appears to be completely missing. Note: Downspout (remove and dispose of damaged material and install new downspout per PRIDCO specifications.) | Linear Feet | 15
51 | Damages - Additional Damages | Plastering on the external wall underneath one of the jalousie windows is missing. Clean and prepare the surface. Building Exterior, Concrete Plastering, 3 FT long x 1 FT wide. Note: Apply cement plaster finish as required so that the finished plaster provides seamless continuity with existing plaster. | Square Feet | 3
52 | Damages - Additional Damages | Install an equipment-anchoring assembly to protect exhaust fans from high wind pressure. | Each | 2
[5 empty] | SUB TOTAL | 0
Bid Package Allowance
53 | Allowance | The contractor shall include in its proposal an amount equal to $90,000.00 in the bidding table as an allowance for this Bid Package. This assignment will be available only if the owner approves its activation and use, and it allows the tasks approved under the FEMA 4339 program to be carried out on an ongoing basis. | Lump Sum | 1 | 40000 | 40000
|  |  |  | 1 | PRECIO TOTAL:
*TÉRMINO DE ENTREGA N/A: VER NOTA DE "SPECIAL CONDITION"*